Lane R. Bader, PE, Civil Engineer žlbader@bcf-engr.com 451 Clovis Ave, Suite 200 ž Clovis CA 93612 ž Tel (559) 326-1400

Bidders

Subject:

Clovis Unified School District Portable Classroom Improvements Various Sites
Addendum 2

May 13, 2022 File No. 222-0163

Bidders,

The following items are descriptions of the changes to the Construction Documents for the Portable Classroom Improvements at Various Sites project.

SPECIFICATIONS

The specifications have been approved by DSA and are being issued with this addendum.

CLOVIS ONLINE CHARTER

The plans have been approved by DSA and are being issued with this addendum. The changes are detailed below but are not clouded on the plans so that there is a clean set of DSA plans.

Plans

1. Sheet C100L – Cover Sheet

a. Revision of Governing Codes.

b. Revision of Sheet Index.

2. Sheet C101L – Accessibility Plan

a. Addition of notes 2-5 on Project Data / Code Analysis, Occupant Load Calculation.

3. Sheet X101L – Details

a. Revision to Detail B/X101L.

4. Sheet E201 – Fire Alarm Notes & Details

www.bcf-engr.com Clovis • Glendale • San Francisco

Page 2 of 8

a. Addition of Annunciate Supervisory to Action for Smoke, Heat Detector initiation Condition on detail 2, Fire Alarm Sequence of Operation Matrix.

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc

Page 3 of 8

FUGMAN ELEMENTARY SCHOOL

The plans have been approved by DSA and are being issued with this addendum. The changes are detailed below but are not clouded on the plans so that there is a clean set of DSA plans.

Plans

1. Sheet C100F – Cover Sheet

a. Revision of Governing Codes.

b. Revision of Sheet Index.

2. Sheet X101F – Details

a. Revision to Detail B/X101F.

3. Sheet E201 – Fire Alarm Notes & Details

a. Addition of Annunciate Supervisory to Action for Smoke, Heat Detector initiation Condition on detail 2, Fire Alarm Sequence of Operation Matrix.

VIRGINIA R. BORIS ELEMENTARY SCHOOL

The plans have not been approved by DSA yet. but the changes to the Plans are detailed below. Once approved by DSA, a new plan set will be issued.

Plans

1. Sheet C100B – Cover Sheet

a. Revision of Governing Codes, same as to the plans for Clovis OnLine and Fugman, see attached sheet A2-1.

b. Revision of Sheet Index, see attached sheet A2-2.

2. Sheet C301B – Site Plan

a. Revision on note 2, Site Legend, see attached sheet A2-3.

3. Sheet E201 – Fire Alarm Notes & Details

a. Addition of Annunciate Supervisory to Action for Smoke, Heat Detector initiation Condition on detail 2, Fire Alarm Sequence of Operation Matrix, see attached sheet A2-4.

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc

Page 4 of 8

Best regards,

BLAIR, CHURCH & FLYNN CONSULTING ENGINEERS

Lane R. Bader, PE Project Manager

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc

Page 5 of 8

SHEET A2-1

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc

Page 6 of 8

SHEET A2-2

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc

Page 7 of 8

SHEET A2-3

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc

Page 8 of 8

SHEET A2-4

P:\222-0163\_Documents\Addenda\222163_ADD_2.doc