ADDENDUM NO. 01

PROJECT:

Clovis West High School Classroom Wing 1070 East Teague Ave.
Fresno, CA

CLIENT:

Clovis Unified School District 1450 Herndon Ave.
Clovis, CA 93611

Date :

TETER Project No.:

Client Project No.: DSA File No.:
DSA Appl. No.:

08/31/2021

A 21-11972 D

2859 10-H3
02-119258

The following additions, deletions and revisions to the plans, specifications and Addenda shall become a part of the plans and specifications. It is the responsibility of the General Contractor to submit the information contained in this addendum to all subcontractors and suppliers.	The Bidder shall acknowledge receipt of the Addendum in the Bid Proposal. (Addendum number of pages: 2 pages + 8 attachments = 17 total pages).

PROJECT MANUAL:

1 – 01:	PROJECT MANUAL, SPECIFICATION SECTION 011100 – “SUMMARY OF WORK”, revise as follows:

A. Remove and Replace with attached Specification 011100 – “SUMMARY OF WORK” (7 Pages).

B. Add “ACCESS/LOGISTICS PLAN” AD1-01 to the “SUMMARY OF WORK (1 Page).

C. Add “EXISTING UTILITIES PLAN” AD1-02 to the “SUMMARY OF WORK (1 Page).

D. Add “LIMITS OF DEMO PLAN” AD1-03 to the “SUMMARY OF WORK (1 Page).

1 – 02:	PROJECT MANUAL, SPECIFICATION – “SCHEDULE”, revise as follows:

A. Remove and Replace with attached Specification – “SCHEDULE” (2 Pages).

J:\119\11972 Clovis USD - Clovis West Classroom Wing\D-Bidding & CA\Bidding\Addenda\Addendum 01\11972_Addendum 01 Draft.doc

ADDENDUM NO. 01 Clovis West High School Classroom Wing Page 2

DRAWINGS:

1 – 03:	 DRAWINGS, SHEET C501.1 – GRADING AND DRAINAGE PLAN – (INC.1), revise as follows:

A. Remove and replace detail “OVER EXCAVATION – SEE SOILS REPORT” with attached AD1-04 (1 Page).

MISCELLANEOUS:

1 – 04:	MANDATORY PRE-BID SITE WALK SIGN-IN SHEET

A. Pre-Bib site walk on 8/18/2021 sign-in sheet AD1-05 (1 Page). B. Pre-Bid site walk on 8/24/2021 sign-in sheet AD1-06 (1 Page).

Aya Shitanishi Architect of Record

J:\119\11972 Clovis USD - Clovis West Classroom Wing\D-Bidding & CA\Bidding\Addenda\Addendum 01\11972_Addendum 01 Draft.doc

01110 SUMMARY OF WORK
PAGE 1

PART 1 - GENERAL

1.01     SUMMARY

A. General: Construction of BASE BID and Alternate portions of the work for Clovis Unified School District Clovis West Classroom Addition Increment 1 Fresno, CA. BASE BID and Alternate portions of the work is defined as all material, labor, equipment and services necessary to do all work shown on the drawings and called for in the Specifications.

General Summary of the Project
The following information applies to all prime-contractors and shall be reviewed carefully for inclusion in each bid. Following are critical logistics related to the Project:
1.	Abatement work is not included in this contract.
2.	 All work for the project will be performed while school is in session during the hours of 7:00 a.m. to 3:30 p.m. Utility tie-ins to be performed after hours.
3.	Submittals and material procurement shall begin immediately upon award or letter of intent from the District. 4.	Material procurement is critical and shall be diligently pursued to meet the contract schedule.
5.	Contractors shall review the project and schedule completely prior to bidding the work.
6.	 Substitutions must be noted in each bid with all costs for the specified product included in the bid and the substitution cost noted separately
7.	 Coordination of work during the preconstruction period is equally as critical to resolving all issues prior to the start of work. Prime-contractor shall review the project, coordinate and question any issues to allow resolution prior to the start of work.

Site access and conduct
1.	All classrooms will be in session on all 4 sides of the project.
2.	While construction noise is expected, strong language will not be tolerated. 3.	Interactions with students will not be tolerated.
4.	All workers will be required to obtain a badge to be onsite.

5.	All foreman will be required to be fingerprinted as called for in the documents

Schedule
The prime-contractor will be required to provide a schedule and crew sizing showing how the work will be accomplished within the given time frame of the contract schedule.

This project will involve work with other contracts to allow for proper student safety and access. See site access plan and schedule for phasing. In general, A sperate project will remove and replace the large planter on the south side of the side in the Month of September to allow for student access. Students will use the walk way on the north side of the site until the planter work has been completed. Once complete the north side of the site will be closed off for construction only and students will use the newly created south access walk way. Access to toilets on the east side must remain open through out the project.

Storm Water Pollution Prevention Plan

Follow all best management practices as called for by code.

Contract
Please be advised that all successful bidders will be required to enter into a subcontract agreement with Clovis Unified School District.

Addendum 1

01110

SUMMARY OF WORK PAGE 2

Alternates

Additive Alternates for the work are as follows. Please provide a base bid for the project then list all additive alternates: 1.	As called for on the plans and specifications

Crew Sizes
All prime-contractors shall review the schedule and confirm that they can crew the project accordingly prior to submitting a bid. Include with each bid minimum and maximum crew sizes projected for the project

Site Logistics, Work and Coordination (applies to each prime-contractor): 1.	Review and verify all existing conditions.
2.	 Provide all necessary temporary utility distribution from services provided at the building by the Construction Manager.
3.	 All contractors shall attend coordination meetings and provide coordination drawings for underground and above ceiling work for work related to this subcontract and for coordination of utilities, openings and other areas that require interface between trades. Coordinate all drawings with the drawings of this subcontract. Note conflicts and provide potential solutions to the architect for review. Coordination and drawing approval must occur prior to excavation (and/or) overhead work. Contractor shall attend a pre-installation meeting prior to the start of its work onsite. All contractors shall be available for pre-installation meetings of other contractors for coordination of related work.
4.	 Only company vehicles are allowed onsite. No tool drop off or parking by personal vehicles will be allowed. Contractor to make provisions for transport or tool distribution needs.
5.	Lunch and breaks shall be at designated areas only. No other areas will be allowed. 6.	Protect all work, new and existing, from damage until acceptance by owner.
7.	 Storage areas will be confined to the areas designated by the Construction Manager. Staging areas around the building shall be coordinated with the Construction Manager. Storage onsite will be controlled due to limited space available.
8.	Furnish all access to roof for own work.
9.	 Work under each contract shall comply with the Storm Water Pollution standards and as set forth in these Contract Documents.
10. All work under each contract shall comply with Air Pollution Control District standards. Provide dust control for own work.
11. Provide written request for information through the Construction Manager for layout information from related subcontracts for all rough-in, embedded items, openings and block-outs, etc.
12. Request and reviewallassociated shopdrawings for coordination andlayoutpurposesprior to installation ofrelated materials.
13. Furnish and Install specified and/or approved sealant for work abutting other materials. 14. Furnish and install protection of all roofing for own work.
15. Furnish and install all physical layout for own work.
16. There will be one wash out area for each contractor as designated by The Construction Manager. Each contractor will be responsible for removal from the site of all debris and spoils generated by each bid package.
17. Secure all ladders and lifts each evening.
18. Provide caution tape and/or barriers for open area work and traffic control.
19. Coordinate all work with mechanical, plumbing and electrical prime-contractor for shut down of services as needed. 48 hours notice is required prior to all shut down activities.

Addendum 1

01110 SUMMARY OF WORK
PAGE 3

Survey – (Provided by the District)
Furnish and install all work specifically required throughout the project documents to complete the work of this prime-contractor that specifically includes, but is not limited to the following:

Specification Sections Division 1

Specific Requirements
1.	Provide move-ins for each section of work as listed on the attached Bid Schedule. 2.	Furnish and install all survey for onsite and offsite work. (ADM 1)

Earthwork:
1.	 Establish a minimum of two permanent horizontal and vertical control points on the site, remote from the building area referenced to data established by survey control points.
2.	Staking for over excavation of Building pad.
3.	Staking of building corners grid for building pads for rough grading. 4.	Certification of building pad (ADM 1) site grades.

Under Ground Utilities:
1.	Staking of all electrical vaults and boxes – horizontal and vertical.
2.	 Staking of all storm drain lines and drain inlets, drain boxes, and trench drains; (ADM 1) sewer lines and cleanouts (100’); domestic water, fire water, gas lines and vaults (as required for excavation and installation horizontal and vertical) at the site.
3.	All valve locations.
4.	Stake all site lighting. (ADM 1)
5.	Stake all fire Hydrants and PIV locations. (ADM 1) 6.	Stake all irrigation sleeves.
7.	Stake all lateral tees and POC’s at all Buildings for all utilities.

Site Concrete Work:
1.	Staking for all concrete walks, curbs, gutters, signs, (ADM 1) walls, etc…

Buildings:
1.	Provide 1 permanent horizontal and vertical control point at the building.
2.	Staking for building corners, offsets to be determined by the Construction Manager.
3.	Provide survey for every other building grid line at building pad, reference points and radiuses as required. 4.	Certify Building pads.
Documents:
1.	Cut sheets and reference drawings for all stake items.
2.	 Provide color coded as-built drawings for all site work and utilities in file format from information provided by other prime-contractors (ADM 1)
3.	Certify site grades when sit concrete and landscaping is complete.

End of Survey Scope

Addendum 1

01110

SUMMARY OF WORK PAGE 4

Earthwork & Paving

Furnish and install all work specifically required throughout the project documents to complete the work of this prime-contractor that specifically includes, but is not limited to the following:

Specification Sections DIVISION 1
023000	SUBSURFACE INVESTIGATION 024119	SLECTIVE DEMOLITION 311100	SITE CLEARING
312000	EARTHWORK:EXCAVATION, FILLING AND GRADING 312222	SOIL MATERIALS
312333	TRENCH EXCAVATION AND BACKFILL SOILS REPORT

Refer to additional related specifications sections for work specifically included in this prime-contractor noted below.

General Items
1.	Any substitution of details or materials must be pre-approved by the Architect, engineers and DSA. All substitution requests must be submitted to CONSTRUCTION MANAGER prior to or with prime-contractor bid. This contractor is responsible for all costs and time delays required for DSA approval.
2.	Furnish and install all layout for own work from survey provided. See survey scope of work for reference. This prime-contractor will be responsible for all additional layout not performed by the survey contractor.
3.	Obtain all permits required to perform the work, including but not limited to Demolition and Air Board (ADM 1) Permit.
4.	Provide all backfill of excavations to original sub-grade for work included in this prime-contractor. 5.	Provide all clean up and provide off-haul of own debris from site on a daily basis.
6.	See General Notes at beginning of summary of work specification section for other items.

Coordination with Other Trades
1.	Coordinate and allow access to building pads for building related scope of work (concrete, plumbing, utilities, electrical).
2.	 Coordinate all work with local utilities & electrical prime-contractor for shut down of services prior to demo with a minimum of 48 hours notice as required per Contract Documents.
3.	Hold all turf areas down 2" at concrete walks and mow strips for turf, 1" at planters. 4.	Remove excess spoils from site daily.
5.	Review as-builts & underground locator survey & pothole utilities prior to starting work.
6.	 Student access shall remain open at all times per the logistics plan. Any work in student access areas shall be done after school hours or weekends. See updated access plan included in Addendum #1 (ADM 1)
7.	All utilities will be cut and capped prior to this contract. All remaining utilities in the over ex area shall be removed and disposed (ADM 1) by this contract. For all deep items, this contract shall expose and allow for cut and cap by others if necessary prior to demo (ADM 1)
8.	Submit UG locator for as required by District to layout all existing utilities. USA Dig Alert notification shall also be provided by this bid package (ADM 1)

Furnish and Install Items
1.	Furnish & install all on site demo, earthwork, grading, paving patch, signage.
2.	Demolition will be in 2 phases to allow for construction and student access. See the site logistics plan for concrete

Addendum 1

01110 SUMMARY OF WORK
PAGE 5

and asphalt to remain. Final demolition will occur Summer of 2022 after school is out.
3.	Provide all demolition as noted on the demo plans & site plans including but not limited to the following:
o Alldemo & removalorsalvage (ADM 1) ofdebris for:asphalt, concrete, siteconcrete, mowstrips, utilities, irrigation, boxes, collars (ADM 1), (after cut and cap by others) trees and roots, fencing, shrubs & turf, posts, footings, bollards, signage, & foundations.
o All concrete shall be removed joint to joint for utilities.
o Remove handrail as called for and turn over to District for re-installation by others
o Most of the demolition has occurred on the site under a previous contract. Extent of remaining concrete, asphalt and utilities will be issued by addendum and shall be reviewed onsite during job walk.
4.	Cut & cap of utilities will be by all utility trades. Coordinate prior to demo 5.	Backfill and compact all voids left by demolished items.
6.	Grade all earthwork to within +/-0.05’ from a planned elevation.
7.	 Furnish and install over ex and recompaction to building pad as called for. See addendum for slab section and foundation details to determine over ex depth and extent (ADM 1)
8.     Furnish and install all cut and fill necessary to perform work. Sand to be furnished and installed by the concrete prime-contractor at the buildings and site concrete. All other materials shall be provided by this prime-contractor.
9.	Furnish and Install demolition and fine grading of the site on separate move-ins (as shown on the logistics plan and as scheduled by the Construction Manager Summer of 2022) to accommodate the site concrete & mow strips installation. Include regrading based on construction operations and winter prior to fine grade. Coordinate backfill and final fine grading activities with the concrete prime-contractor to eliminate damage to new site concrete.
10. Furnish & install all grading and swales for landscape to ± .05'
11. Furnish and Install backfill of mow strips, walks, curb, curb & gutter, valley gutter (ADM 1) planter and turf areas on separate move in after site concrete.
12. Furnish, install, and maintain traffic control for work included in this prime-contractor. Normal student traffic in the designated entrances will be monitored by the District. Any other access required shall be included in the bid package. Should other access be required, this bid package shall notify the CM and CUSD in writing 48 hours prior to the need for review, approval and coordination. (ADM 1)
13. Furnish and install and remove (ADM 1) track out stations (rumble strips and crushed rock) at the entrance to the site as shown on the Access plan. Maintain for own work. Construction manager will maintain at completion of earthwork operation but earthwork contractor will provide for 8 months rental of rumble strips for CONSTRUCTION MANAGER use in bid. Provide site concrete and street (ADM 1) cleaning for own scope of work to provide clean and safe access for students & staff as well as to meet air board and water board requirements. Furnish, install and remove baserock access road as show in the access plan. 14 feet wide with a 6” section (ADM 1)
14. Furnish & install certification of final grading to confirm grades prior to landscape. (ADM 1)
15. Furnish & install protection of items onsite including but not limited to (ADM 1): utilities, fencing, utility yards, buildings, tree/landscape where required. Construction manager will maintain protection throughout project.
16. Maintain and protect building pads to within tolerance, elevation, moisture, weed free and compaction until accepted/received by theconcrete prime-contractor as noted in theschedule. Anticipate January 2022 for turn over to concrete bid package
17. Regrade between new building L Building and S Building classrooms where new storm drain is installed to drain to inlets. (ADM 1)
18. Fire Hydrant in project site can be used for construction water. (ADM 1)
19. Temporary Power available at CMU enclosure West of new building. (ADM 1)
20. Work between P15-P18 Building and P5-P9 Building will occur Summer of 2022 after students are out. (ADM 1) 21. See Access plan and utility plan included in the addendum for additional demo notes for site. (ADM 1)
22. Protect existing utility boxes to remain. (ADM 1)

FOB Items 1.	None
End of Prime-contractor

Addendum 1

01110

SUMMARY OF WORK PAGE 6

1.03  WORK UNDER OTHER CONTRACTS:

A.	General Requirements:
1) Work under separatecontracts may occur throughout theduration oftheproject. The work beinginstalled under separate contracts will occur around adjacent to the Contract project site including offsite work.
Contractor shall be responsible for coordinating access to and from the site throughout the duration of the project. Access points to and from the site may vary, based upon timing and duration of separate contracts.
2) Contractor shall cooperate and coordinate all work under this Contract with all work under separate contracts.
3) Should the Contractor damage and/or otherwise alter work installed under separate contracts, Contractor responsible for the correction repair of work installed under separate contracts.
4) Prior to the installation of the Work, coordinate the work installed or to be installed by separate contracts relative to own work.

B.	Separate Contracts by Owner: 1.	Coordinate as awarded.
C.	Separate Contracts by Others:

1.	Adjacent Properties: Residential D.	Phasing:

E.	 Phasing is projected to be as shown on the Bid Schedule. However, the owner reserves the right to revise start times pending the review and award of bids.

1.04     CONTRACTOR'S DUTIES:
A.	Except as specifically noted, provide and pay for: 1.	Labor, material and equipment.
2.	Tools, construction equipment and machinery.
3.	Other facilities and services necessary for proper execution and completion of Work. 4.	Water: See Specification Section – TEMPORARY FACILITIES AND CONTROLS.
B.	Pay legally required sales, consumer and use taxes.
C.	Secure and pay for allsite specific, as necessary for proper execution and completion of Work, and as applicable at time of receipt of bids.
1.	Licenses.
2.	Permits and Fees. 3.	Governmental Fees. 4.	Royalties.
C.	Give required notices.
E.	Comply with codes, ordinances, rules, regulations, orders and other legal requirements of public authorities which bear on performance of Work.
1.	 The Contractor shall certify in writing that no materials containing Asbestos are incorporated in the work, in accordance with the Asbestos Hazard Emergency Regulations Act.
F.	Promptly submit written notice to Construction Manager of observed variance of Contract Documents from legal requirements.
1.	Appropriate modifications to Contract Documents will adjust necessary changes.
2.	 Assume responsibility for work known to be contrary to such requirements and without written notice to Architect of observed variance.
G.	Enforce strict discipline and good order among employees. Do not employ on Work: 1.	Unfit persons.

Addendum 1

01110 SUMMARY OF WORK
PAGE 7

2.	Persons not skilled in assigned task.
H.	Provide material, equipment and manpower to meet Construction Schedule provided in Contract Documents.

1.05     CONTRACTOR USE OF PREMISES:
A.	Confine operations at sites to areas permitted by: 1.	Laws.
2.	Ordinances. 3.	Permits.
3.	Contract Documents.
B.	Do not unreasonably encumber site with materials or equipment. C.	Do not load structure with weight that will endanger structure.
D.	 Assume full responsibility for protection and safekeeping of Contractor's and Owner's material stored on premises, and keep the site and building secure at all times.
E.	Obtain and pay for use of additional storage or Work areas needed for operations. F.	Limit use of site for Work and storage.

PART 2 - PRODUCTS (Not Applicable)

PART 3 - EXECUTION (Not Applicable)

END OF SECTION

Addendum 1

Construction	Access/Logistics Plan Entrance

Temp Access Track Out & 6" section of baserock 14' wide

Alternate Construction Entrance

Construction Worker Path of Travel

MWC Construction Office/ Lay down yard/ Contractor Parking

Student/Staff Path of Travel

AD1-01

1
8/31/2021
Addendum 1
Remove 1-1 1/2" IRR. Approx. 18" deep

Remove conduits Approx. 20" deep

Remove 5-2" Conduits. Approx. 30" deep

Remove abandoned conduits Approx. 30" deep

Identified Elect. found tape @ 30" deep. Protect to remain

Remove 1-1 1/4" IRR. Approx. 24" deep

Remove 1-2" Fiber Approx. 24" deep

Remove Storm Drain - Shallow, Flows North

Note: All utilities show on original plan remain in affet for demolition or protection. Additional utilities shown as noted shall be potholed and removed within the over ex area. Cut and cap shall be by others

AD1-02

8/31/2021
Addendum 1
Work to occur Summer 2022 once students are out. This shall be included as a part of this contract.

1
Remove and lawfully dispose of Fence, footings and mow strip

Tree Stumps and Roots removed by Others

Existing tree has been removed. This contract shall remove the stump and roots.

Work at South Planter completed by Others

AD1-03

ID
	
1
	Task Name
	
NTP Project Prep
	Duration
	
	Start
	
Mon 8/9/21
	Finish
	
	Aug '21
	Sep '21
	Oct '21
	
17 24
	Nov '21
	Dec '21
	Jan '22
	Feb '22
	Mar '22
	Apr '22
	May '22
	Jun '22
	Jul '22
	Aug '22
 31 7 
	
					 1 
	 8 15 22
	 29 5 12 19 26 3 10 
		 31 7 14 21 28 5 12 19 26
	 2 9 16 23 30 6 13 20 27 6 13 20 27 3 10 17 24 
	 1 8 15 22 29 5 12 19 26 3 10 17 24
		
		1 day
		Mon 8/9/21
																		
2
																						
3
																						
4
	Site Utilities Cut/Cap/Relocate
																					
5
	Analyze Existing system
	19 days
	Wed 8/11/21
	Mon 9/6/21

																							
6
	Design relocation of low voltage and electrical
	5 days
	Tue 9/7/21
	Mon 9/13/21

																								
7
	Install new conduits
	7 days
	Tue 9/14/21
	Wed 9/22/21

																									
8
	pull new wire
	2 days
	Thu 9/23/21
	Fri 9/24/21

																									
9
	cut over to existing system
	2 days
	Mon 9/27/21
	Tue 9/28/21

																									
10
	remove eisting wire
	3 days
	Wed 9/29/21
	Fri 10/1/21

																										
11
																										
12
																										
13
	Student Access South Pathway
																									
14
	Locate UG utilities
	5 days
	Mon 8/30/21
	Fri 9/3/21

																												
15
	Remove existing trees
	4 days
	Fri 8/27/21
	Wed 9/1/21

																												
16
	demo existing planter
	3 days
	Fri 8/27/21
	Tue 8/31/21

																												
17
	Excavate foundations
	2 days
	Mon 9/6/21
	Tue 9/7/21

																										
18
	Rebar foundations
	3 days
	Wed 9/8/21
	Fri 9/10/21

																										
19
	Pour foundation
	1 day
	Mon 9/13/21
	Mon 9/13/21

																										
20
	form / rebar retaining wall
	4 days
	Tue 9/14/21
	Fri 9/17/21

																										
21
	Pour wall
	1 day
	Mon 9/20/21
	Mon 9/20/21

																										
22
	Cure wall
	2 days
	Tue 9/21/21
	Wed 9/22/21

																										
23
	Strip wall
	1 day
	Thu 9/23/21
	Thu 9/23/21

																										
24
	Grade walk
	1 day
	Fri 9/24/21
	Fri 9/24/21

																										
25
	For and Pour walk way
	3 days
	Mon 9/27/21
	Wed 9/29/21

																									
26
	Install gas line stub
	4 days
	Tue 9/14/21
	Fri 9/17/21

																									
27
	Install water stub
	4 days
	Mon 9/20/21
	Thu 9/23/21

																									
28
	Install irrigation sleeve
	1 day?
	Fri 9/24/21
	Fri 9/24/21

																								
29
																								
30
	Increment 1 - Earthwork / Demo
																							
31
	Mobilize
	2 days
	Mon 10/4/21
	Tue 10/5/21

																								
32
	Temp Facilities
	3 days
	Wed 10/6/21
	Fri 10/8/21

																								
33
	Cut and Cap Utilities
	2 days
	Mon 10/11/21
	Tue 10/12/21

																								
34
	Tree removal
	3 days
	Wed 10/13/21
	Fri 10/15/21

																							
35
	Install Track out and temp road
	1 day
	Mon 10/18/21
	Mon 10/18/21

Project: CLovis West Inc 1 Adm Date: Mon 8/30/21
	
Task
	
Page 1

Addendum 1

ID
	
36
	Task Name
	
Remove storm drain
	Duration
	
	Start
	
Mon 10/18/21
	Finish
	
	Aug '21
	Sep '21
	Oct '21
	Nov '21
	Dec '21
	
2
	
 19 26
	Jan '22
	Feb '22
	Mar '22
	Apr '22
	May '22
	Jun '22
	Jul '22
	Aug '22
 31 7 
	
					 1 
	 8 15 22 
	29 5 12 19 26 3 10
	 17 24
	 31 7 14 21 28 5 1
			 2 9 16 23 30 6 13 20 27 6 13 20 27 3 10 17 24 
	 1 8 15 22 29 5 12 19 26 3 10 17 24
		
		2 days
		Tue 10/19/21

																										
37
	Site demolition
	4 days
	Wed 10/20/21
	Mon 10/25/21

																								
38
	Survey Building Pad
	1 day
	Tue 10/26/21
	Tue 10/26/21

																								
39
	Building Pad
	10 days
	Wed 10/27/21
	Tue 11/9/21

																								
40
	Relocate Fire Hydrant
	4 days
	Wed 11/10/21
	Mon 11/15/21

																									
41
	Sewer
	4 days
	Tue 11/16/21
	Fri 11/19/21

																									
42
	Storm Drain
	3 days
	Mon 11/22/21
	Wed 11/24/21

																									
43
	Water
	3 days
	Thu 11/25/21
	Mon 11/29/21

																								
44
																								
45
																								
46
	Projected Building Phase
																							
47
	Bid Period
	20 days
	Fri 10/15/21
	Thu 11/11/21

																									
48
	Letter of Intent
	5 days
	Fri 11/12/21
	Thu 11/18/21

																									
49
	Procurement Period
	20 days
	Fri 11/19/21
	Thu 12/16/21

																								
50
	DSA approval
	1 day
	Wed 12/1/21
	Wed 12/1/21
																				
51
	Board Approval
		Wed 12/8/21
																					
52
	Foundations
	15 days
	Fri 12/17/21
	Thu 1/6/22

																							
53
	Underground utilities
	10 days
	Fri 1/7/22
	Thu 1/20/22

																							
54
	Slab on grade
	7 days
	Fri 1/21/22
	Mon 1/31/22

																							
55
	Structural Steel
	10 days
	Tue 2/1/22
	Mon 2/14/22

																							
56
	Rough Carpentry
	35 days
	Tue 2/15/22
	Mon 4/4/22

																							
57
	Exterior Finishes
	45 days
	Tue 4/5/22
	Mon 6/6/22

																								
58
	Interior rough in
	25 days
	Tue 4/5/22
	Mon 5/9/22

																								
59
	Interior Finishes
	60 days
	Tue 5/10/22
	Mon 8/1/22

																								
60
	Exterior site work
	23 days
	Tue 6/7/22
	Thu 7/7/22

																							
61
	Project Complete
	1 day?
	Tue 8/2/22
	Tue 8/2/22

	
Project: CLovis West Inc 1 Adm Date: Mon 8/30/21
	Task
	
Page 2

Addendum 1

TYP.
8" MIN.
ACTED
LEAST
STURE
PORT
12"
24"
18"

ENGI

FIN. GRADE

(E) GRADE VARIES

SLOPE 1:1 TO VERI BY SOILS ENGINE SLOPE CAN BE ELIMINATED AT A OF REDUCED OVER

OVER EXCA ENGINEERE
92% CO CONDITIONIN

N

T E

R E

V

M G

LIMITS OF EERED FILLED

IED R -

EAS X.

ATED & COMP D FILL WITH AT
PACTION & MOI PER SOILS RE

5'-0" MIN.	EDGE OF FTG.	5" SLAB o/ 1-1/2" SAND TOP OF PAD

F.F.

TOP OF FTG

CONC. FTG. PER PLAN

NATIVE UNDISTURBED SOIL
SCARIFY (E) GRADE & ADJUST MOISTURE CONDITION WITHIN 2% OF OPTIMUM MOISTURE CONTENT. COMPACT AS ENGINEERED FILL TO AT LEAST 92%, U.N.O.
	
OVER EXCAV
	ATION - SEE SOILS REPORT

AD1-04

AD1-05

AD1-06